## Main
Click Me to Create Reports of Each Page: | Files saved to: | G:\Shared drives\O&M\NCC Automations\In Progress\Performance Analysis - Python\Brandon\Python Switch\Also Energy Sites\Performance Reports

## Bluebird
Site Name: Bluebird Solar
Site Location: 125 Frisco Drive, Pendleton SC 29670
Utility: Duke Energy Carolinas
Reporting Period: August 2024
Site Information
| System Size (MWdc): | 5.8
| System Size (MWac): | 3
| Inverter Type (Count): | 24
| Module Type (Count): | 12768
| Transformer Type (Count): | 2
| Combiner Type (Count): | 24
Performance Metrics
Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) | Grid Availability | O&M Availability (%) | NREL Weather Adjusted OPR (%) |  | Snow Adjustment (%) | Site Outage Frequency (Total) | Average Site Outage Duration (hr)
58.22% | 64.53% | 90.23% | 98.3% | 100% | 100% | 58.22% |  | 0% | 0 | 0
YTD Summary | [11 empty] | Performance Index (%)
Month | Meter Production (kWh) | P50 Production (kWh) | Weather Adjusted Production (kWh) | Observed Insolation (Wh/m2) | P50 Insolation (Wh/m2) | Estimated Production Loss (kWh) | Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) |  | Monthly | YTD | QTR
1899-12-31 | [10 empty] | Jan | #N/A | #N/A | 1
1900-01-31 | [10 empty] | Feb | #N/A | #N/A | 1
1900-03-01 | [10 empty] | Mar | #N/A | #N/A | 1
1900-04-01 | [10 empty] | Apr | #N/A | #N/A | 2
1900-05-01 | [10 empty] | May | #N/A | #N/A | 2
1900-06-01 | [10 empty] | Jun | #N/A | #N/A | 2
1900-07-01 | [10 empty] | Jul | #N/A | #N/A | 3
1900-08-01 | 446701.554 | 767252.8053 | 692279.3924 | 201732.5 | 223580 | 245577.8384 | 58.22% | 64.53% | 90.23% | 98.3% | Aug | 64.53% | 64.53% | 3
1900-09-01 | [10 empty] | Sep | #N/A | #N/A | 3
1900-10-01 | [10 empty] | Oct | #N/A | #N/A | 4
1900-11-01 | [10 empty] | Nov | #N/A | #N/A | 4
1900-12-01 | [10 empty] | Dec | #N/A | #N/A | 4
YTD | 446701.554 | 767252.8053 | 692279.3924 | 201732.5 | 223580 | 245577.8384 | 58.22% | 64.53% | 90.23% | 98.3%
Completed Work Orders
Work Order | Device | Start | End | Nature of Failure | Problem Description | How Repaired
End of Reporting Record
Open Work Orders
Work Order | Device | Date Entered | Scheduled Date | Problem Description
End of Reporting Record
Health, Safety, Security & Environmental Events
Type | Device | Date | Status | Incident Description
No Health, Environmental, or Security Events reported.
.

## Cardinal
Site Name: Cardinal Solar
Site Location: 3114 N. HWY 501, Marion SC 29571
Utility: Duke Energy Progress
Reporting Period: August 2024
Site Information
| System Size (MWdc): | 10.2
| System Size (MWac): | 7
| Inverter Type (Count): | 59
| Module Type (Count): | 25488
| Transformer Type (Count): | 3
| Combiner Type (Count): | 59
Performance Metrics
Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) | Grid Availability | O&M Availability (%) | NREL Weather Adjusted OPR (%) |  | Snow Adjustment (%) | Site Outage Frequency (Total) | Average Site Outage Duration (hr)
84.22% | 89.27% | 94.35% | 96.12% | 100% | 100% | 84.22% |  | 0% | 0 | 0
YTD Summary | [11 empty] | Performance Index (%)
Month | Meter Production (kWh) | P50 Production (kWh) | Weather Adjusted Production (kWh) | Observed Insolation (Wh/m2) | P50 Insolation (Wh/m2) | Estimated Production Loss (kWh) | Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) |  | Monthly | YTD | QTR
1899-12-31 | [10 empty] | Jan | #N/A | #N/A | 1
1900-01-31 | [10 empty] | Feb | #N/A | #N/A | 1
1900-03-01 | [10 empty] | Mar | #N/A | #N/A | 1
1900-04-01 | [10 empty] | Apr | #N/A | #N/A | 2
1900-05-01 | [10 empty] | May | #N/A | #N/A | 2
1900-06-01 | [10 empty] | Jun | #N/A | #N/A | 2
1900-07-01 | [10 empty] | Jul | #N/A | #N/A | 3
1900-08-01 | 1532200.1228 | 1819220.3021 | 1716422.593 | 209011.1792 | 221529 | 184222.4702 | 84.22% | 89.27% | 94.35% | 96.12% | Aug | 89.27% | 89.27% | 3
1900-09-01 | [10 empty] | Sep | #N/A | #N/A | 3
1900-10-01 | [10 empty] | Oct | #N/A | #N/A | 4
1900-11-01 | [10 empty] | Nov | #N/A | #N/A | 4
1900-12-01 | [10 empty] | Dec | #N/A | #N/A | 4
YTD | 1532200.1228 | 1819220.3021 | 1716422.593 | 209011.1792 | 221529 | 184222.4702 | 84.22% | 89.27% | 94.35% | 96.12%
Completed Work Orders
Work Order | Device | Start | End | Nature of Failure | Problem Description | How Repaired
End of Reporting Record
Open Work Orders
Work Order | Device | Date Entered | Scheduled Date | Problem Description
End of Reporting Record
Health, Safety, Security & Environmental Events
Type | Device | Date | Status | Incident Description
No Health, Environmental, or Security Events reported.
.

## Cherry
Site Name: Cherry Blossom Solar
Site Location: 189 Lewis Road, Hemingway SC 29554
Utility: Duke Energy Progress
Reporting Period: August 2024
Site Information
| System Size (MWdc): | 14.4
| System Size (MWac): | 10
| Inverter Type (Count): | 4
| Module Type (Count): | 38556
| Transformer Type (Count): | 4
| Combiner Type (Count): | 39
Performance Metrics
Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) | Grid Availability | O&M Availability (%) | NREL Weather Adjusted OPR (%) |  | Snow Adjustment (%) | Site Outage Frequency (Total) | Average Site Outage Duration (hr)
72.83% | 76.69% | 94.97% | 86.44% | 100% | 100% | 72.83% |  | 0% | 0 | 0
YTD Summary | [11 empty] | Performance Index (%)
Month | Meter Production (kWh) | P50 Production (kWh) | Weather Adjusted Production (kWh) | Observed Insolation (Wh/m2) | P50 Insolation (Wh/m2) | Estimated Production Loss (kWh) | Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) |  | Monthly | YTD | QTR
1899-12-31 | [10 empty] | Jan | #N/A | #N/A | 1
1900-01-31 | [10 empty] | Feb | #N/A | #N/A | 1
1900-03-01 | [10 empty] | Mar | #N/A | #N/A | 1
1900-04-01 | [10 empty] | Apr | #N/A | #N/A | 2
1900-05-01 | [10 empty] | May | #N/A | #N/A | 2
1900-06-01 | [10 empty] | Jun | #N/A | #N/A | 2
1900-07-01 | [10 empty] | Jul | #N/A | #N/A | 3
1900-08-01 | 1674951.2492 | 2299805.762 | 2184036.1625 | 197729.8957 | 208211 | 509084.9133 | 72.83% | 76.69% | 94.97% | 86.44% | Aug | 76.69% | 76.69% | 3
1900-09-01 | [10 empty] | Sep | #N/A | #N/A | 3
1900-10-01 | [10 empty] | Oct | #N/A | #N/A | 4
1900-11-01 | [10 empty] | Nov | #N/A | #N/A | 4
1900-12-01 | [10 empty] | Dec | #N/A | #N/A | 4
YTD | 1674951.2492 | 2299805.762 | 2184036.1625 | 197729.8957 | 208211 | 509084.9133 | 72.83% | 76.69% | 94.97% | 86.44%
Completed Work Orders
Work Order | Device | Start | End | Nature of Failure | Problem Description | How Repaired
End of Reporting Record
Open Work Orders
Work Order | Device | Date Entered | Scheduled Date | Problem Description
End of Reporting Record
Health, Safety, Security & Environmental Events
Type | Device | Date | Status | Incident Description
No Health, Environmental, or Security Events reported.
.

## Cougar
Site Name: Cougar Solar
Site Location: W. Garden St, Sanford, NC 27330
Utility: Duke Energy Progress
Reporting Period: August 2024
Site Information
| System Size (MWdc): | 2.7
| System Size (MWac): | 2
| Inverter Type (Count): | 31
Module Type (Count):
Transformer Type (Count):
Combiner Type (Count):
Performance Metrics
Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) | Grid Availability | O&M Availability (%) | NREL Weather Adjusted OPR (%) |  | Snow Adjustment (%) | Site Outage Frequency (Total) | Average Site Outage Duration (hr)
94% | 192.8% | 48.75% | 4643% | 100% | 100% | 94% |  | 0% | 0 | 0
YTD Summary | [11 empty] | Performance Index (%)
Month | Meter Production (kWh) | P50 Production (kWh) | Weather Adjusted Production (kWh) | Observed Insolation (Wh/m2) | P50 Insolation (Wh/m2) | Estimated Production Loss (kWh) | Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) |  | Monthly | YTD | QTR
1899-12-31 | [10 empty] | Jan | #N/A | #N/A | 1
1900-01-31 | [10 empty] | Feb | #N/A | #N/A | 1
1900-03-01 | [10 empty] | Mar | #N/A | #N/A | 1
1900-04-01 | [10 empty] | Apr | #N/A | #N/A | 2
1900-05-01 | [10 empty] | May | #N/A | #N/A | 2
1900-06-01 | [10 empty] | Jun | #N/A | #N/A | 2
1900-07-01 | [10 empty] | Jul | #N/A | #N/A | 3
1900-08-01 | 328403.054 | 349374.1445 | 170306.3818 | 101494.809 | 208211 | -158096.6722 | 94% | 192.8% | 48.75% | 4643% | Aug | 192.8% | 192.8% | 3
1900-09-01 | [10 empty] | Sep | #N/A | #N/A | 3
1900-10-01 | [10 empty] | Oct | #N/A | #N/A | 4
1900-11-01 | [10 empty] | Nov | #N/A | #N/A | 4
1900-12-01 | [10 empty] | Dec | #N/A | #N/A | 4
YTD | 328403.054 | 349374.1445 | 170306.3818 | 101494.809 | 208211 | -158096.6722 | 94% | 192.8% | 48.75% | 4643%
Completed Work Orders
Work Order | Device | Start | End | Nature of Failure | Problem Description | How Repaired
End of Reporting Record
Open Work Orders
Work Order | Device | Date Entered | Scheduled Date | Problem Description
End of Reporting Record
Health, Safety, Security & Environmental Events
Type | Device | Date | Status | Incident Description
No Health, Environmental, or Security Events reported.
.

## Harrison
Site Name: Harrison Solar
Site Location: 1454 Dunn Road, Roseboro NC 28382
Utility: Duke Energy Progress
Reporting Period: August 2024
Site Information
| System Size (MWdc): | 7.4
| System Size (MWac): | 5
| Inverter Type (Count): | 43
| Module Type (Count): | 19400
| Transformer Type (Count): | 2
| Combiner Type (Count): | 43
Performance Metrics
Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) | Grid Availability | O&M Availability (%) | NREL Weather Adjusted OPR (%) |  | Snow Adjustment (%) | Site Outage Frequency (Total) | Average Site Outage Duration (hr)
85.15% | 83.46% | 102% | 94.96% | 100% | 100% | 85.15% |  | 0% | 0 | 0
YTD Summary | [11 empty] | Performance Index (%)
Month | Meter Production (kWh) | P50 Production (kWh) | Weather Adjusted Production (kWh) | Observed Insolation (Wh/m2) | P50 Insolation (Wh/m2) | Estimated Production Loss (kWh) | Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) |  | Monthly | YTD | QTR
1899-12-31 | [10 empty] | Jan | #N/A | #N/A | 1
1900-01-31 | [10 empty] | Feb | #N/A | #N/A | 1
1900-03-01 | [10 empty] | Mar | #N/A | #N/A | 1
1900-04-01 | [10 empty] | Apr | #N/A | #N/A | 2
1900-05-01 | [10 empty] | May | #N/A | #N/A | 2
1900-06-01 | [10 empty] | Jun | #N/A | #N/A | 2
1900-07-01 | [10 empty] | Jul | #N/A | #N/A | 3
1900-08-01 | 915862.5608 | 1075595.196 | 1097358.0569 | 171214.5354 | 167819 | 181495.4962 | 85.15% | 83.46% | 102% | 94.96% | Aug | 83.46% | 83.46% | 3
1900-09-01 | [10 empty] | Sep | #N/A | #N/A | 3
1900-10-01 | [10 empty] | Oct | #N/A | #N/A | 4
1900-11-01 | [10 empty] | Nov | #N/A | #N/A | 4
1900-12-01 | [10 empty] | Dec | #N/A | #N/A | 4
YTD | 915862.5608 | 1075595.196 | 1097358.0569 | 171214.5354 | 167819 | 181495.4962 | 85.15% | 83.46% | 102% | 94.96%
Completed Work Orders
Work Order | Device | Start | End | Nature of Failure | Problem Description | How Repaired
End of Reporting Record
Open Work Orders
Work Order | Device | Date Entered | Scheduled Date | Problem Description
End of Reporting Record
Health, Safety, Security & Environmental Events
Type | Device | Date | Status | Incident Description
No Health, Environmental, or Security Events reported.
.

## Hayes
Site Name: Hayes Solar
Site Location: 718 w. Atkins St., Dobson NC 27017
Utility: Duke Energy Carolinas
Reporting Period: August 2024
Site Information
| System Size (MWdc): | 4.6
| System Size (MWac): | 3
| Inverter Type (Count): | 26
| Module Type (Count): | 10612
| Transformer Type (Count): | 2
| Combiner Type (Count): | 24
Performance Metrics
Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) | Grid Availability | O&M Availability (%) | NREL Weather Adjusted OPR (%) |  | Snow Adjustment (%) | Site Outage Frequency (Total) | Average Site Outage Duration (hr)
95.47% | 132.8% | 71.89% | 100% | 100% | 100% | 95.47% |  | 0% | 0 | 0
YTD Summary | [11 empty] | Performance Index (%)
Month | Meter Production (kWh) | P50 Production (kWh) | Weather Adjusted Production (kWh) | Observed Insolation (Wh/m2) | P50 Insolation (Wh/m2) | Estimated Production Loss (kWh) | Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) |  | Monthly | YTD | QTR
1899-12-31 | [10 empty] | Jan | #N/A | #N/A | 1
1900-01-31 | [10 empty] | Feb | #N/A | #N/A | 1
1900-03-01 | [10 empty] | Mar | #N/A | #N/A | 1
1900-04-01 | [10 empty] | Apr | #N/A | #N/A | 2
1900-05-01 | [10 empty] | May | #N/A | #N/A | 2
1900-06-01 | [10 empty] | Jun | #N/A | #N/A | 2
1900-07-01 | [10 empty] | Jul | #N/A | #N/A | 3
1900-08-01 | 703233.3045 | 736574.811 | 529505.5198 | 150449.8403 | 209285 | -173727.7848 | 95.47% | 132.8% | 71.89% | 100% | Aug | 132.8% | 132.8% | 3
1900-09-01 | [10 empty] | Sep | #N/A | #N/A | 3
1900-10-01 | [10 empty] | Oct | #N/A | #N/A | 4
1900-11-01 | [10 empty] | Nov | #N/A | #N/A | 4
1900-12-01 | [10 empty] | Dec | #N/A | #N/A | 4
YTD | 703233.3045 | 736574.811 | 529505.5198 | 150449.8403 | 209285 | -173727.7848 | 95.47% | 132.8% | 71.89% | 100%
Completed Work Orders
Work Order | Device | Start | End | Nature of Failure | Problem Description | How Repaired
End of Reporting Record
Open Work Orders
Work Order | Device | Date Entered | Scheduled Date | Problem Description
End of Reporting Record
Health, Safety, Security & Environmental Events
Type | Device | Date | Status | Incident Description
No Health, Environmental, or Security Events reported.
.

## Hickory
Site Name: Hickory Solar
Site Location: 4341 US Highway 117 South, Rose Hill, NC 28458
Utility: Duke Energy Progress
Reporting Period: August 2024
Site Information
| System Size (MWdc): | 7.2
| System Size (MWac): | 5
| Inverter Type (Count): | 2
| Module Type (Count): | 20020
| Transformer Type (Count): | 2
| Combiner Type (Count): | 32
Performance Metrics
Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) | Grid Availability | O&M Availability (%) | NREL Weather Adjusted OPR (%) |  | Snow Adjustment (%) | Site Outage Frequency (Total) | Average Site Outage Duration (hr)
40.99% | #N/A | 0% | #N/A | 100% | 100% | 40.99% |  | 0% | 0 | 0
YTD Summary | [11 empty] | Performance Index (%)
Month | Meter Production (kWh) | P50 Production (kWh) | Weather Adjusted Production (kWh) | Observed Insolation (Wh/m2) | P50 Insolation (Wh/m2) | Estimated Production Loss (kWh) | Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) |  | Monthly | YTD | QTR
1899-12-31 | [10 empty] | Jan | #N/A | #N/A | 1
1900-01-31 | [10 empty] | Feb | #N/A | #N/A | 1
1900-03-01 | [10 empty] | Mar | #N/A | #N/A | 1
1900-04-01 | [10 empty] | Apr | #N/A | #N/A | 2
1900-05-01 | [10 empty] | May | #N/A | #N/A | 2
1900-06-01 | [10 empty] | Jun | #N/A | #N/A | 2
1900-07-01 | [10 empty] | Jul | #N/A | #N/A | 3
1900-08-01 | 472460.6443 | 1152632.3446 | 0 | 0 | 208596 | -472460.6443 | 40.99% | #DIV/0! | 0% |  | Aug | #DIV/0! | #DIV/0! | 3
1900-09-01 | [10 empty] | Sep | #N/A | #N/A | 3
1900-10-01 | [10 empty] | Oct | #N/A | #N/A | 4
1900-11-01 | [10 empty] | Nov | #N/A | #N/A | 4
1900-12-01 | [10 empty] | Dec | #N/A | #N/A | 4
YTD | 472460.6443 | 1152632.3446 | 0 | 0 | 208596 | -472460.6443 | 40.99% |  | 0%
Completed Work Orders
Work Order | Device | Start | End | Nature of Failure | Problem Description | How Repaired
End of Reporting Record
Open Work Orders
Work Order | Device | Date Entered | Scheduled Date | Problem Description
End of Reporting Record
Health, Safety, Security & Environmental Events
Type | Device | Date | Status | Incident Description
No Health, Environmental, or Security Events reported.
.

## Violet
Site Name: Violet Solar
Site Location: 1150 B Street, Mt Pleasant, NC 28164
Utility: Duke Energy Carolinas
Reporting Period: August 2024
Site Information
| System Size (MWdc): | 7.7
| System Size (MWac): | 5
| Inverter Type (Count): | 2
Module Type (Count):
Transformer Type (Count):
Combiner Type (Count):
Performance Metrics
Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) | Grid Availability | O&M Availability (%) | NREL Weather Adjusted OPR (%) |  | Snow Adjustment (%) | Site Outage Frequency (Total) | Average Site Outage Duration (hr)
79.35% | 68.62% | 115.6% | 96.84% | 100% | 100% | 79.35% |  | 0% | 0 | 0
YTD Summary | [11 empty] | Performance Index (%)
Month | Meter Production (kWh) | P50 Production (kWh) | Weather Adjusted Production (kWh) | Observed Insolation (Wh/m2) | P50 Insolation (Wh/m2) | Estimated Production Loss (kWh) | Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) |  | Monthly | YTD | QTR
1899-12-31 | [10 empty] | Jan | #N/A | #N/A | 1
1900-01-31 | [10 empty] | Feb | #N/A | #N/A | 1
1900-03-01 | [10 empty] | Mar | #N/A | #N/A | 1
1900-04-01 | [10 empty] | Apr | #N/A | #N/A | 2
1900-05-01 | [10 empty] | May | #N/A | #N/A | 2
1900-06-01 | [10 empty] | Jun | #N/A | #N/A | 2
1900-07-01 | [10 empty] | Jul | #N/A | #N/A | 3
1900-08-01 | 810527.6397 | 1021452.5198 | 1181237.1484 | 196014.6877 | 169500 | 370709.5087 | 79.35% | 68.62% | 115.6% | 96.84% | Aug | 68.62% | 68.62% | 3
1900-09-01 | [10 empty] | Sep | #N/A | #N/A | 3
1900-10-01 | [10 empty] | Oct | #N/A | #N/A | 4
1900-11-01 | [10 empty] | Nov | #N/A | #N/A | 4
1900-12-01 | [10 empty] | Dec | #N/A | #N/A | 4
YTD | 810527.6397 | 1021452.5198 | 1181237.1484 | 196014.6877 | 169500 | 370709.5087 | 79.35% | 68.62% | 115.6% | 96.84%
Completed Work Orders
Work Order | Device | Start | End | Nature of Failure | Problem Description | How Repaired
End of Reporting Record
Open Work Orders
Work Order | Device | Date Entered | Scheduled Date | Problem Description
End of Reporting Record
Health, Safety, Security & Environmental Events
Type | Device | Date | Status | Incident Description
No Health, Environmental, or Security Events reported.
.

## Wellons
Site Name: Wellons Solar
Site Location: 88 Yelverton Grove RD, Smithfield, NC 27577
Utility: Duke Energy Progress
Reporting Period: August 2024
Site Information
| System Size (MWdc): | 6.7
| System Size (MWac): | 5
| Inverter Type (Count): | 6
Module Type (Count):
Transformer Type (Count):
Combiner Type (Count):
Performance Metrics
Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) | Grid Availability | O&M Availability (%) | NREL Weather Adjusted OPR (%) |  | Snow Adjustment (%) | Site Outage Frequency (Total) | Average Site Outage Duration (hr)
94.37% | 98.36% | 95.94% | 85.58% | 100% | 100% | 94.37% |  | 0% | 0 | 0
YTD Summary | [11 empty] | Performance Index (%)
Month | Meter Production (kWh) | P50 Production (kWh) | Weather Adjusted Production (kWh) | Observed Insolation (Wh/m2) | P50 Insolation (Wh/m2) | Estimated Production Loss (kWh) | Energy Index (%) | Performance Index (%) | Weather Index (%) | Inverter Availability (%) |  | Monthly | YTD | QTR
1899-12-31 | [10 empty] | Jan | #N/A | #N/A | 1
1900-01-31 | [10 empty] | Feb | #N/A | #N/A | 1
1900-03-01 | [10 empty] | Mar | #N/A | #N/A | 1
1900-04-01 | [10 empty] | Apr | #N/A | #N/A | 2
1900-05-01 | [10 empty] | May | #N/A | #N/A | 2
1900-06-01 | [10 empty] | Jun | #N/A | #N/A | 2
1900-07-01 | [10 empty] | Jul | #N/A | #N/A | 3
1900-08-01 | 869593.9266 | 921508.571 | 884076.6594 | 165588.9443 | 172600 | 14482.7328 | 94.37% | 98.36% | 95.94% | 85.58% | Aug | 98.36% | 98.36% | 3
1900-09-01 | [10 empty] | Sep | #N/A | #N/A | 3
1900-10-01 | [10 empty] | Oct | #N/A | #N/A | 4
1900-11-01 | [10 empty] | Nov | #N/A | #N/A | 4
1900-12-01 | [10 empty] | Dec | #N/A | #N/A | 4
YTD | 869593.9266 | 921508.571 | 884076.6594 | 165588.9443 | 172600 | 14482.7328 | 94.37% | 98.36% | 95.94% | 85.58%
Completed Work Orders
Work Order | Device | Start | End | Nature of Failure | Problem Description | How Repaired
End of Reporting Record
Open Work Orders
Work Order | Device | Date Entered | Scheduled Date | Problem Description
End of Reporting Record
Health, Safety, Security & Environmental Events
Type | Device | Date | Status | Incident Description
No Health, Environmental, or Security Events reported.
.